## Info Sheet
Infrastructure Readiness Critical Rating Factors
Condition Rating (Condition Category Index - CI) - Measures a facility’s general “physical fitness”, independent of its mission, as it deteriorates due to routine aging, excess wear and tear, or insufficient maintenance at a specific point in time. It is a weighted average of condition indices from the systems and components of a facility at the component level.
0 – 59 Failing
60 – 79 Poor
80 – 89 Fair
90 - 100 Good
Facility Condition Index - (FCI) - Ratio of condition-related maintenance and repair deficiencies compared to the current plant replacement value.
Life health or safety. Documented deficiencies be recorded on the Property Record Card. Undocumented deficiencies are considered as none.
Unfunded - Shore Cross Functional POM Prioritization. APF 1391 developed and linked in the current POM 5-year cycle and in accordance to the current POM cycle guidance. The project POM program year must be within the 5 year POM cycle. 1391 with Program Year not within the current POM cycle will not be considered.
Operation Impact Critical Rating Factors
Region CIB IPL Priority - Results of the Region CIB Priority ranking. 5-year Program Year +4
Strategic Alignment - (1) Fleet Centric Areas - San Diego, CA; National Capital Region, DC; Jacksonville, FL; Hampton Roads, VA; Kitsap, WA; Pearl Harbor, HI; Marianas, Guam; and Yokosuka, Japan. SLD NS Rota, SP. Vessels in overhaul Kittery ME; Norfolk Naval Shipyard, Bremerton, Carrier Air Wing CAG Key West, FL; El Centro, CA; Fallon, NV; Okinawa, JA; Atsugi, JA; Sigonella, IT; (2) Remote & isolated - as officially designated by the Department of Navy. (3) Fleet Readiness Support - applies to all other Navy installations.
IRR - Internal Rate of Return DoN benchmark is 5%. DoD benchmark for new construction is 7%.
ROI - Return on Investment. Repair projects have limited capability in influencing the IRR due to the immaterial changes in the facility capacity. The primary objective for repair projects is to sustain the existing operation and revenues. The appreciable measure is the non-monetary Return on Investment (ROI) in direct support to Fleet Readiness and Quality of Service to the total Navy workforce and families. The results of the project is to achieve break-even or better. Compute the return on investment (ROI) by dividing the change in net cash flow by the total project cost then multiplying times 100 to covert answer into %.
Payback - The simple investment payback period benchmark for DoD is 20 years or less.
Profit and Loss - Program Profit and Loss for the last three fiscal years
Cash Flow - Program Cash Flow. Net Income Before Depreciation (NIBD) for the last three fiscal years
Utilization - This metric determines the percentage of usage of a facility by dividing the average monthly usage (average of the last 12 months) of the facility by the number of Active Duty at the installation. For Liberty/Single Sailor facilities the formula is the number of Single Sailors station at the installation vice total active duty. The number of active duty is derived from eMH and provided to the Regions each year by HQ N92. Specific formula is: Percentage Usage = (Monthly Average of patron counts / Active Duty Population) x 100%

## FOM CAT B - Repair
CNIC Capital Investment Board (CIB) Figures of Merit (FOM) - CAT B Repair Projects
The Mission Criticality Index (MCI) evaluates and assigns a numeric value for N9 assets utilizing Critical Rating Factors (CRF). The higher the MCI score defines the Recapitalization programming priority. This FOM applies to all MWR CAT B Repair projects.
Mission Criticality Index Category |  | Score Range
Critical |  | 100 - 85
Significant |  | 84 - 70
Relevant |  | 69 - 55
Moderate |  | 54 - 40
Low |  | 39 or below
MCI Critical Rating Factors - Repair |  | Scoring Criteria | MCI Score
Building Number: RPUID: NFA:
CRF 1 | Region CIB IPL Priority Ranking (0-25 points) | Priority 1 (25 points); Priority 2 (20 points); Priority 3 (15-points); Priority 4 (10-points); Priority 5 or greater (5-points) | 25
CRF 2 | Facility Condition Category Index (0-20 points) | Failing 0-50 (20 points), Poor 60-79 (15 points); Fair (80-89) (10 points); Good 90-100 (5 points) | 20
CRF 3 | Strategic Alignment (0-20 points) | Fleet Centric Areas (20 points); Remote & Isolated (15 points); supports Fleet Readiness (10 points) all other Navy installations | 20
CRF 4 | Unfunded POM Prioritization (1391 completed in PAX (formerly EPG) and linked in the current IPL POM 5-year cycle) (0-15 points) | Developed APF 1391and linked in the current IPL 5-year POM cycle (15 points); No developed APF 1391 or 1391 not linked in the current 5-year POM cycle (0 points) | 15
CFR 5 | Advanced AE Cost estimate completed (0-10 points) | Advanced NAF AE Cost estimated submitted with nomination Yes (10 points); No (0 points) | 10
CRF 6 | Facility Utilization (0-10 points) | Current 12-month average patron utilization divided by Active-Duty population: 81-100% + = 10, 61-80% = 6, 41-60% = 4, Less than 0-59% = 0 | 10
|  | Total Mission Criticality Index Score | 100
Tie Breakers
CRF 1 | Unfunded - prioritized below the previous Program Year CNIC CIB authorizations or designated as a swing project (0-6 points) | Documented Yes (6 points); No (0 points) | 6
CRF 2 | Life, Health or Safety on the Property Record Card (0-5 points) | Documented Yes (5 points); No (0 points) | 5

## FOM CAT C - Repair
CNIC Capital Investment Board (CIB) Figures of Merit (FOM) - CAT C Repair Projects
The Mission Criticality Index (MCI) evaluates and assigns a numeric value for N9 assets utilizing Critical Rating Factors (CRF). The higher the MCI score defines the Recapitalization programming priority. This FOM applies to all MWR CAT C Repair projects.
Mission Criticality Index Category |  | Score Range
Critical |  | 100 - 85
Significant |  | 84 - 70
Relevant |  | 69 - 55
Moderate |  | 54 - 40
Low |  | 39 or below
MCI Critical Rating Factors - Repair |  | Scoring Criteria | MCI Score
Building Number: RPUID: NFA:
CRF 1 | Region CIB IPL Priority Ranking (0-25 points) | Priority 1 (25 points); Priority 2 (20 points); Priority 3 (15-points); Priority 4 (10-points); Priority 5 or greater (5-points) | 25
CRF 2 | Facility Condition Category Index (0-15 points) | Failing 0-50 (15 points), Poor 60-79 (10 points); Fair (80-89) (5 points); Good 90-100 (0 points) | 15
CRF 3 | Strategic Alignment (0-15 points) | Fleet Centric Areas (15 points); Remote & Isolated (10 points); supports Fleet Readiness (5 points) all other Navy installations | 15
CRF 4 | Positive Program Cash Flow (5-15 points) | Last three fiscal years (15 points); Last two fiscal years (10 points); one year or less (5 points) | 15
CRF 5 | Program Profit & Loss (0-10 points) | Positive program profit and loss last three fiscal years (10 points); positive program profit and loss last two years (5 points); positive program profit and loss one year or less (0 points) | 10
CRF 6 | Facility Utilization (0-10 points) | Current 12-month average patron utilization divided by Active-Duty population: 81-100% + = 10, 61-80% = 6, 41-60% = 4, Less than 0-59% = 0 | 10
CFR 7 | Advanced AE Cost estimate completed (0-10 points) | AE Cost estimated submitted with nomination Yes (10 points); No (0 points) | 10
|  | Total Mission Criticality Index Score | 100
Tie Breakers
CRF 1 | Unfunded - prioritized below the previous Program Year CNIC CIB authorizations or designated as a swing project (0-6 points) | Documented Yes (6 points); No (0 points) | 6
CRF 2 | Simple Investment Payback Period (0-4 points) | 10 years or less (4 points); 11-15 years (3 points); 16 - 20 years (1 point); 21 years or greater (0 points) | 3
CRF 3 | Life, Health or Safety on the Property Record Card (0-3 points) | Documented Yes (3 points); No (0 points) | 3
CRF 4 | Facility Condition Index FCI (0-5 points) | 0-49 (5 points) 50-69 (3 points); 70-89 (2 points) 90-100 (0 points) | 5

## FOM - NAFCON - Expansion
CNIC Capital Investment Board (CIB) Figures of Merit (FOM) - CAT C NAFCON New Construction - Expansion
The Mission Criticality Index (MCI) evaluates and assigns a numeric value for N9 assets utilizing Critical Rating Factors (CRF). The higher the MCI score defines the Recapitalization programming priority. This FOM applies to all MWR New Construction NAFCON project (expansion of an existing program).
Mission Criticality Index Category |  | Score Range
Critical |  | 100 - 85
Significant |  | 84 - 70
Relevant |  | 69 - 55
Moderate |  | 54 - 40
Low |  | 39 or below
MCI Critical Rating Factors - New Footprint |  | Scoring Criteria | MCI Score
CRF 1 | Region CIB IPL Priority Ranking (0-25 points) | Priority 1 (25 points); Priority 2 (20 points); Priority 3 (15-points); Priority 4 (10-points); Priority 5 or greater (5-points) | 25
CRF 2 | Strategic Alignment (10-20 points) | Fleet Centric Areas (20 points); Remote & Isolated (15 points); supports Fleet Readiness (10 points) all other Navy installations | 20
CRF 3 | Internal Rate of Return (IRR) (0-20 points) | IRR 7% or greater (20 points); IRR 5% - 6% (15 points); IRR 4% or less (0 points) | 20
CRF 4 | Simple Investment Payback Period (0-15 points) | 10 years or less (15 points); 11-15 years (10 points); 16 - 20 years (5 points); 21 years or greater (0 points) | 15
CRF 5 | Program Profit & Loss (0-5 points) | Positive program profit and loss last three fiscal years (5 points); positive program profit and loss last two years (3 points); positive program profit and loss one year or less (0 points) | 5
CRF 6 | Program Cash Flow (0-5 points) | Positive program cash flow last three fiscal years (5 points); Positive program cash flow last two years (3 points); positive cash flow less than two year or negative (0 points) | 5
CRF 7 | Market / Demand - Off Installation (0-5 points) | Commercial or other DoD service option not available within 15 miles (5 points); Commercial or other DOD option available within 15 miles (0 points) | 5
CFR 8 | Advanced AE Cost estimate completed (0-5 points) | AE Cost estimated submitted with nomination Yes (5 points); No (0 points) | 5
|  | Total Mission Criticality Index Score | 100
Tie Breakers
CRF 1 | Unfunded - prioritized below the previous Program Year CNIC CIB authorizations. Designated as a swing project (0-6 points) | Documented Yes (6 points); No (0 points) | 6

## FOM - NAFCON - New Start Up
CNIC Capital Investment Board (CIB) Figures of Merit (FOM) - CAT C NAFCON New Construction / New Program Start
The Mission Criticality Index (MCI) evaluates and assigns a numeric value for N9 assets utilizing Critical Rating Factors (CRF). The higher the MCI score defines the Recapitalization programming priority. This FOM applies to all MWR New Construction NAFCON New Program start-up projects.
Mission Criticality Index Category |  | Score Range
Critical |  | 100 - 85
Significant |  | 84 - 70
Relevant |  | 69 - 55
Moderate |  | 54 - 40
Low |  | 39 or below
MCI Critical Rating Factors - New Footprint |  | Scoring Criteria | MCI Score
CRF 1 | Region CIB IPL Priority Ranking (0-25 points) | Priority 1 (25 points); Priority 2 (20 points); Priority 3 (15-points); Priority 4 (10-points); Priority 5 or greater (5-points) | 25
CRF 2 | Strategic Alignment (10-20 points) | Fleet Centric Areas (20 points); Remote & Isolated (15 points); supports Fleet Readiness (10 points) all other Navy installations | 20
CRF 3 | Internal Rate of Return (IRR) (0-20 points) | IRR 7% or greater (20 points); IRR 5% - 6% (15 points); IRR 4% or less (0 points) | 20
CRF 4 | Simple Investment Payback Period (0-15 points) | 10 years or less (15 points); 11-15 years (10 points); 16 - 20 years (5 points); 21 years or greater (0 points) | 15
CRF 5 | Market / Demand - Off Installation (0-10 points) | Commercial or other DoD service option not available within 15 miles (10 points); Commercial or other DOD option available within 15 miles (0 points) | 10
CFR 6 | Advanced AE Cost estimate completed (0-10 points) | AE Cost estimated submitted with nomination Yes (10 points); No (0 points) | 10
|  | Total Mission Criticality Index Score | 100
Tie Breakers
CRF 1 | Unfunded - prioritized below the previous Program Year CNIC CIB authorizations. Designated as a swing project (0-6 points) | Documented Yes (6 points); No (0 points) | 6